Table 1: Number of Observations Excluded or in 'Clean Air' Category

Grouped by comparison instrument and calibration method

| Comparison | Method | Number of Observations |
| --- | --- | --- |
| Candles |  |  |
| DustTrak | Calibrated | 33 |
| DustTrak | Uncalibrated | 33 |
| Cigarette Smoke |  |  |
| DustTrak | Calibrated | 198 |
| DustTrak | Uncalibrated | 198 |
| Clean Air |  |  |
| DustTrak | Calibrated | 323 |
| DustTrak | Uncalibrated | 323 |
| SMPS + APS | Calibrated | 323 |
| SMPS + APS | Uncalibrated | 323 |
| Cooking |  |  |
| DustTrak | Calibrated | 27 |
| DustTrak | Uncalibrated | 27 |
| Cooking High RH (70 - 80%) |  |  |
| DustTrak | Calibrated | 54 |
| DustTrak | Uncalibrated | 54 |