Table 1: Number of Observations Excluded or in 'Clean Air' Category

Grouped by comparison instrument and calibration method

| Comparison | Method | Number of Observations |
| --- | --- | --- |
| Cooking High RH (70 - 80%) |  |  |
| DustTrak | Calibrated | 1 |
| DustTrak | Uncalibrated | 1 |