Table 1: Table 1: Performance metrics based on the leave-one-sensor-out approach

| Reference | Method | Pearson's r | Mean Relative Error (%) | Mean Error (µg/m³) | LoA Low (µg/m³) | LoA High (µg/m³) |
| --- | --- | --- | --- | --- | --- | --- |
| DustTrak | Calibrated | 0.95 | 4.42 | -1.16 | -34.34 | 32.02 |
| DustTrak | Uncalibrated | 0.95 | 20.63 | 9.25 | -30.45 | 48.95 |
| SMPS + APS | Calibrated | 0.52 | 72.9 | -6.19 | -195.14 | 182.75 |
| SMPS + APS | Uncalibrated | 0.51 | 52.51 | -12.72 | -202.6 | 177.16 |